## Cover
Scaling Rural Distributed Renewable Energy in India:
A framework for planning and implementation
Appendix B. Shortlisted DRE Village Matrix
Read the full report here: https://www.iisd.org/publications/report/scaling-rural-distributed-renewable-energy-india
© 2026 International Institute for Sustainable Development
Published by the International Institute for Sustainable Development

## Appendix B
| History of implementing DRE in their village, such as biogas, solar-powered borewell, etc. MH's first solar-powered village. Recent event (2024) and a part of PM-Surya Ghar Yojana. Highlight includes participation and involvement of local women. | Grid connected and large scale (1,300 rooftop solar systems). State and Central governments have 50%–50% partnership in funding. PM inaugurated this. | Villagers contribute a monthly fee of Rs 100 for O&M. SHGs have been formed to manage them. | Solar microgrid, one of the earliest installations. Affected by natural calamities | It only has solar lighting and charging facilities, which failed due to cyclones. Not too relevant for the national-level DRE model. Most consumers shifted to grid, after the arrival of Saubhagya scheme. | Uses remote technology to manage the operations. A microgrid, supported by OREDA. | Very small scale (only 13 households) | Large scale and combines multiple technologies and use cases | Very small scale (only 44 households) | It was primarily based on the mini-grid model, which may not be very relevant in the current context.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Village/Area | Manyachiwadi village | Modhera | Pandri, Purulia district | Indrapur, in Sundarbans | Baripatha | Chhotkei | Indira Nagar | Odanthurai | Sundarban villages | Dharnai
State | Maharashtra | Gujarat | West Bengal | West Bengal | Odisha | Odisha | Rajasthan | Tamil Nadu | West Bengal | Bihar
Impact/solar technology application | - 102 rooftop solar connections. Every household in the village—which has a population of 420—will now have zero-amount electricity bills. - School, gram panchayat office, and a flour mill in the village also have rooftop solar installations. - Street lights have been powered through solar grid; the public water supply system runs on renewable energy. | - 6 MW grid-connected ground-mounted solar PV power plant - 19 MWh battery energy storage system - 271 nos. x 1 KW rooftop solar PV systems - 50 kW carpark built near the interpretation centre along with a 150 kWh battery backup system that caters to the demand of the interpretation centre and EV chargers installed under carpark - 25 numbers of articulated LED lights installed along the entry road enhances the beauty of the Modhera Sun Temple vicinity area | - 80 households that are basically mud huts in three clusters - Covering about 2,000 square feet with around 75 solar panels | - 110 kW solar plant - Solar power plant gives the fishing community of 10,000 people access to electricity and clean water. - Over 2,000 families have electricity, and children are able to use light to do their homework after dark. | - Individual solar units with two solar home-lighting systems, which also have the facility of charging mobile phones and other devices, have been installed for each of the 61 households in the village. | - 600 villagers, living in 140 households spread over 235 ha of land - 20 street lights, a temple, and three community centres consuming about 20 kWp. - The remaining 10 kWp has been set aside for daytime use by irrigation pumps and microenterprises, such as stitching, rice-puff machines, provision stores, poultry, refrigerators, oil mill, welding, cold-rooms, etc., to improve agricultural output, enable value addition to agriculture, and generate employment. | 240 W plant provided basic lighting to all houses at Indira Nagar | Plant capacity is 9 kW | - Seven villages are provided with 300 home lighting systems (HLS) - 15 street lights installed for a clinic, a training centre, youth clubs, and two battery charging stations of 4 kW each capable of charging 10-100 Ah car battery - One VLX-53 solarex polycrystalline silicon module and one saver 6 LVD charge controller per HLS - Supply of HLS to be given to 2 x 9 W CFL and 1 x 30 W electrical outlet (total 50 W supply) | - The microgrid was running, and about 350 of 450 households had signed up as customers. - Microgrid with four systems together add up to 70 kW - Batteries to store the electricity, local distribution lines, power conditioning devices, control switches, meters
Additional scheme details | Surplus solar energy generation fetches extra income by selling it to MSEDCL. |  |  |  | - The central solar unit has eight panels that can be folded quickly in case of cyclones and high-speed winds, which are frequent in Odisha. | - 30 kW solar infrastructure was installed to power the village with sensors and meters | Plant was set up on a BOM (built, operate, and maintain) mode with each household contributing INR 150 per month for usage. | Number of consumers: 3,497 people Operation hours: 12 hours Tariff structure: Rs 30/HH/month Fuel efficiency: 1.5 kg of dry wood/kWh Cost of fuel: Rs 0.30/kg |  | - Three “packages” were designed for supply of power through energy audit and consultation with villagers. - Packages 1, 2 and 3 corresponded to 18 W, 30 W, and 50 W, respectively.
Cost |  |  | INR 45,00,000 |  | Project cost Rs 7 lakh. The entire solar project is low cost, low maintenance, and community owned. |  |  | Cost of installation: Rs 310,000 MNES subsidies: Rs 135,000 Panchayat contribution: Rs 175,000 | -GoI provided 40% subsidy (for a unit cost of INR 14,000/- GoI subsidy was INR 6,000/-) - Remaining 60% cost was provided in the form of cash or through low-interest loan by RKM | INR 3.5 crores to purchase and install the system’s hardware components (Greenpeace provided concept and investment; CEED scaled up the model through institutional networking and policy advocacy; BASIX operates the microgrid, collecting user charges, overseeing technical aspects, providing supervisors and engineers to build the system, and training for maintenance, and to handover to the community at a later date.
System size | - 102 rooftop solar connections. In 2024, the rooftop solar systems installed across the village now generate about 1,500 units of electricity a year — more than enough to meet the village’s needs. - All 128 homes in Manyachiwadi boast of two 20 watt (W) solar energy light bulbs each. | - 6 MW grid-connected ground-mounted solar PV power plant - 19 MWh battery energy storage system - 271 nos. x 1 KW rooftop solar PV systems - 50 kW carpark built near the interpretation centre along with a 150 kWh battery backup system that caters to the demand of the interpretation centre and EV chargers installed under carpark - 25 numbers of articulated LED lights installed along the entry road enhances the beauty of the Modhera Sun Temple vicinity area - More than 1,300 rooftop solar systems have been installed on houses for power generation. | Over 72 solar panels, spread across 2,000 square feet | 110 kW | - Individual solar units with two solar home-lighting systems, which also have the facility of charging mobile phones and other devices have been installed. - Central 1 kW unit for the entire village that will be used to power the eight street lamps, along with a LED television set and TV set-top box that have been provided to the villagers and installed in their community centre. | - 30 kWp solar-powered Smart Nanogrid - Smart Nanogrid is powered by a cloud-based SaaS solution “NanoSoft Remote”—a state-of-the-art comprehensive solution to manage the entire operations of the microgrid. | 240 W solar power-based microgrid | - 350 kW wind power generator - It has installed a 9 kW biomass gasifier power generation system to substitute the grid electricity for pumping drinking water. | - 300 home lighting systems that furnished 50 W -DC for two 9W CFL and one electrical outlet of about 30 W for a TV set or other appliances. - 15 street lights were installed for a clinic, a training center, youth clubs, and two battery charging stations of 4 kW each. | - Four systems together add up to 70 kW
Population covered | 420 residents |  | - Illuminating over 80 households that were once reliant on firewood and kerosene lamps | 2,000 families | - Each of the 61 households in the village - Population of about 350 people | Approximately 600 villagers | 13 houses with a population of 190, mainly farmers |  | 44 out of the 69 households in the village got connected to the solar power plant mini-grid supply. | - Microgrid was running for about 350 of 450 households who signed up as customers.
Region and geographical features | Pinnacles and high plateaus of main Sahyadrians range have height over 4,500 feet above mean sea level to the subdued basin of the Nira River in Phaltan tahasils, with the average height of about 1,700 feet above mean sea level. Average annual rainfall of over 6,000 mm to the driest in Man tahsil, where the average annual rainfall is about 500 mm. | - Land is mostly flat, with sandy loam and medium black types of soil. The slope in this region ranges from 0% to 1%. - The entire district of Mehsana has several rivers flowing through it. These rivers include River Rupen, Pushpawati, Sabarmati, Khari, Saraswati, as well as other vokada. | - Countryside of Purulia is extremely diverse; it has hills, plateaus, and plains. - Major rivers of Purulia district are Damodar, Kangsabati, and Kumari . |  | - Bhubaneshwar, situated at an average altitude of 45 m above sea level - Mahandi River in the north, Daya River in the south, and Kuakhai River in the east - Topographically the city is divided into the eastern lowlands and the western uplands. | - It is located in the heartland of Odisha and spread over four districts, viz. Angul, Cuttack, Boudh, and Nayagarh (Satkosai tiger reserve). - It comprises two adjoining sanctuaries, namely Baisipalli Sanctuary and Satkosia Gorge Sanctuary. |  |  | - Sundarban is a mangrove area in the delta formed by the confluence of the Ganges, Brahmaputra, and Meghna rivers in the Bay of Bengal. | - Located in the transit region between the Chota Nagpur plateau and the alluvial Gangetic plains of South Bihar (Bodhgaya)
Applications: Which facilities are running on DRE? (Only for HHs? Or for community services as well?) | Each home is equipped with a solar panel, a battery, and two 20 W light bulbs. | Temple, carparks, EV chargers | Pandri has harnessed the sun’s energy to power its homes, streets, and even its rice hulling machine. | Electrical power and drinking water |  | - Meets the energy demands of 140 households, 20 street lights, a temple, and three community centres, consuming about 20 kWp. - 10 kWp has been set aside for daytime use by irrigation pumps and microenterprises, such as stitching, rice-puff machines, provision stores, poultry, refrigerators, oil mill, welding, cold-rooms, etc., to improve agricultural output, enable value addition to agriculture, and generate employment. | Basic lighting achieved in all houses in Indira Nagar. Activities such as grinding pulses and stitching to supplement family incomes have now become part of their activity during evening hours where they make use of energy-efficient LED bulbs. | - 9 kW biomass gasifier power generation system to substitute the grid electricity for pumping drinking water - Wind farm in the Odanthurai generates 7.5 lakh units of electricity in a year. While the panchayat’s need is only 4.5 lakh units, the remaining power is sold to the Tamil Nadu Electricity Board, fetching an annual income of INR 19 lakh. | RKM has provided the following information for charging a 60 Ah battery three times per month. The battery, with an expected lifetime of 2 years, costs about Rs 3,500, that is, about Rs 150 per month. A battery charge is estimated at Rs 30, that is, Rs 90 per month. The cost of transporting the battery by boat to the charging station is Rs 20 to Rs 60 per month. This brings the total to Rs 300 per month.
Grid connected? | Stand alone | Grid connected and BESS | No particulars available | No particulars available
What is the provision of operation and maintenance (O&M)? (Is there any budget available, specifically for O&M?) |  | GPCL awarded the project to Mahindra Susten as the engineering, procurement, and construction (EPC) and the O&M contractor. It was fully commissioned on August 26, 2021, and completed within a year. | Villagers contribute a monthly fee of Rs 100 to ensure the proper maintenance of the solar panels. Self-help groups have been formed to manage the solar lighting, water pump, and rice hulling machine, fostering a sense of ownership and responsibility. | No longer functioning |  | Now locally managed by the village youth who have been trained by SunMoksha at the Living Laboratory at National Institute of Science and Technology (NIST), in Berhampur, Odisha, where the R&D for Smart Nanogrid was also conducted. | The solar power plant works on a BOM (built, operate, and maintain) model where each household pays monthly charge of Rs 150 for usage. |  | A senior PV technician is responsible for each district. Under the technician are four or more village-level technicians who work on solar energy systems, taking care of installation, maintenance, and inspections.
Any information about local people's perception? | From 2010 to 2013, the village slashed its electricity expenses by 70% (using solar LED bulbs), reducing its monthly bill to a fraction of what it once was. The village was until then paying up to Rs 65,000 a month to Maharashtra State Electricity Co. Ltd (MSEDCL). “After we adopted solar energy, our expenses dropped to around Rs 20,000.” | “We have a washing machine, two ACs, ceiling fans, and a water purifier. We could not use anything because of power cuts. But with these solar power panels, we can use all the appliances.” | "Kerosene is sold at Rs 40 per litre in the market. Now the money will be saved, thanks to the solar lamps. We are really grateful to the solar aid." | [6 empty] | “As soon as we got solar power connections, there were also warnings to not use high power electrical appliances like television, refrigerator, motor and others. These conditions are not there if you use thermal power. Then what is the use of such a power? The solar energy tariff was also higher compared to thermal power.” Subsequently, 3 years after the inauguration, the solar mini-grid started collapsing. “In the first 3 years, it worked well and people were using it. But after 3 years the batteries were exhausted and it was never repaired. So now, while the solar rooftops, CCTV cameras and other infrastructure are intact, the whole system has become a showpiece for us. No one uses solar power anymore here. The glory of Dharnai has ended,” Ravi Kumar, a shopkeeper from the village, told Mongabay-India while pointing toward the installed infrastructure. Ramapati Kumar, CEO of CEED, told Mongabay-India that “If you consider this as a failed project you fail to realise the social transformation the project brought in the village.” “The project first showed how decentralised solar projects can work in such areas. It exposed the state to the idea of the utility of solar energy for the state. It was for demonstration purpose and suffered later due to upkeep issues. Lives and safety of women, study and job prospects of youths and many other aspects of lives here save major change with the penetration of solar energy in the village,” he said.
Timeline (including when it achieved the DRE village status) |  | 09.10.2022 |  | 2003 | October 2015 | February 2016 |  | 2006 |  | 2014
Key players and their role. Was it driven by the state government? Or by the Central government? Or both? Or CSR? | - Rs 50 lakh prize given to the village under the state’s Majhi Vasundhara competition and the prestigious Adarsh Gram Award, presented by then-Indian President Ram Nath Kovind in 2018. | MNRE announced a scheme for solarization of Modhera. The scheme was implemented by an implementing agency (Gujarat Power Corporation Limited), nominated by the Government of Gujarat. |  | Solar microgrid, funded by West Bengal Renewable Energy Development Authority and implemented by Tata Power | Co-funded by the solar products manufacturer, ECCO Electronics, and the power solutions provider, Jackson Group, senior IPS officer Joydeep Nayak | Smart Nanogrid has been implemented by SunMoksha with financial support from Wartsila India and under the guidance of Odisha Renewable Energy Authority (OREDA). | Minda NexGenTech Ltd, along with the support of local sarpanch Ms Chhavi Rajawat, started with setting up of a 240 W solar power-based microgrid, investment being made by Minda NexGenTech Ltd. | - Set up in 2006 under the direction of a well-functioning gram panchayat. - A small wind turbine would cost INR 2.3 crore; Odanthurai panchayat could produce INR 35 lakh as down payment for a bank loan. - Government support, the panchayat would need a bank loan of INR 1.15 crore. Tamil Nadu state government sanctioned the project under the Remunerative Enterprises Scheme. | Ramakrishna Mission (RKM) with the support from MNRE and UNDP | Project was conceived and installed through a collaboration between Greenpeace India, the Centre for Environment Energy and Development (CEED), and BASIX.
Was this part of any specific scheme? |  | MNRE rolled out a special scheme for solarization of Modhera.
What stood out in this case study? (Could be borrowed from additional scheme details; see row above.) | The 50 lakh prize money is a huge boost for villagers to adopt sustainable living through DRE. | The success of the scheme has proven that the concept is scalable. | Pandri’s transformation serves as an inspiration for other villages seeking sustainable energy solutions. It demonstrates the viability of solar power in rural electrification, while highlighting the "importance of community participation and ownership." |  | - Central unit that supplies power to all households. However, this leads to many problems like the exposed cables being tapped by villagers. In this case, some households draw more power than their share, which in turn causes the central line to trip because of overload. | Smart Nanogrid is hosted on a local server from where operators can manage metering, billing, tariffs, and alerts. This is the energy hub from where consumption is managed; if a consumer exceeds the maximum power allocated, the system automatically shuts off power to that consumer. Villagers who use smartphones are provided information about their consumption, billing, payment, etc., on their devices; whereas others are provided with energy cards that have embedded codes. These cards can be scanned at the powerplant in order to obtain similar consumption and billing information. This brings efficiency and transparency in operations, with data available at the fingertips. |  |  |  | After the provisioning of electricity under the “package” system, it was noticed that customers were using more than their allotted load. They were charged a flat rate depending on the package. The problem, however, was resolved by instituting a pay-as-you-go model.
What could be done better in this case study? (Critical analysis) |  |  |  | - Initially microgrid in Indrapur would supply power for 5 hours a day, with three to five points in every household, for a monthly subscription of Rs 80 and Rs 120, respectively. After Cyclone Aila inflicted damages in 2009, the capacity came down to 3 hours a day. By 2013–14, according to the local residents, the power station was defunct. |  |  |  | - Solar lights went defunct with lack of maintenance; other renewable energy initiatives in the village such as night soil-linked biogas plant and biomass gasifiers had issues with maintenance, unpleasant odour, and escalating costs. - Effective community participation from project conceptualization, customization based on community inputs and engaging local workers are crucial for its success.
Any other recent development? |  | In August 2022, MNRE clarified the following for the scheme: 1. Scheme outlay from INR 65 crore to INR 76.66 crore 2. 1297 x 1 kW solar RTS, total 305 kW solar RTS on government buildings 3. Scheme extended until September 30, 2022 | In 2018, the village received the prestigious Ashden Award for Sustainable Energy, a testament to its innovative approach to rural electrification.
Additional information |  |  |  | Between 1996 and 2006, the West Bengal Renewable Energy Development Authority installed 17 such solar power microgrids in the Sundarbans.